## Slide 1
Technical vs. Biological Replicates – Pseudoreplication
Example: cell viability under one experimental condition
cstats · Fundamentals of Experimental Design
2
Biological replicate
A culture independent of the others (B1, B2, B3, B4).
Captures variability between biological units.
Technical replicate
Three measurements of the same culture.
Captures measurement variability, not three new cultures.
B1
·
·
·
B2
·
·
·
B3
·
·
·
B4
·
·
·
4 biological units
3 measurements per unit

## Slide 2
Treating technical measurements as independent observations artificially inflates n
cstats · Fundamentals of Experimental Design
3
Incorrect: n = 12
4 cultures × 3 measurements = 12 rows
The 12 measurements are NOT 12 biological replicates.
Correct: n = 4
We average the 3 measurements from each culture.
We analyze 4 values, one per biological unit.
Technical vs. Biological Replicates – Pseudoreplication
Pseudoreplication
Artificially inflated sample size
Underestimated uncertainty: standard errors too small
Artificially low p-values

## Slide 3
Biological Replicates – Independent vs. Dependent
4

## Slide 4
Which Statistical Test Should We Use?
Independence is an assumption shared by many statistical tests
cstats · Fundamentals of Experimental Design
5
Comparison
Independent observations
Dependent observations
2 groups · parametric
Welch’s t-test
Paired t-test
2 groups · nonparametric
Mann–Whitney U / Wilcoxon rank-sum
Wilcoxon signed-rank
Multiple groups / factors
Conventional factorial ANOVA
Mixed-effects model / repeated measures
Note: data distribution, test assumptions, and experimental design also matter.